[image: image4.png]


Science and Technology Directorate – (202) 282-8125

MARYAAmericium-241
1. Hazard Identification

· Americium-241 (am-mer-e-sea-um two forty one)

· Other common names or referral terms: Often written as Am-241 or 241Am
2. Quick Facts

· Chemical form – Americium-241 is used as americium oxide, as component within a thin, gold foil, and as an americium-beryllium mixture.
· Physical form – Americium sources are often used as a thin foil that can be mounted on a variety of holders, which in turn can be provided as a sealed source or unsealed.  Americium sources can also be provided as a powder, typically inside a sealed source. Americium and beryllium mixtures are often used as a neutron sources and can be found in many forms, typically with a small amount of americium and beryllium inside a sealed source container.  
· Variability – Commonly used as extremely small, essentially harmless source in smoke detectors; also used in slightly larger, but still fairly low activity sources for calibration facilities and startup sources for research reactors.  Used by itself as an alpha source and in combination with beryllium as a neutron source.  
· Detectability – Alpha particles and low energy gamma-rays emitted by americium can be detected at close range (a few cm or less) but are easily shielded.  Neutrons emitted by americium-beryllium sources can be detected with neutron detectors.  
· Availability – Extremely small Americium-241 sources are widely available as components in smoke detectors. Relatively small sources are also used in medical applications, as calibration sources and in thickness gauges and some americium-beryllium neutron sources are used in well logging, as research reactor startup sources, and in moisture gauges.  
· Production – Americium is produced when plutonium atoms absorb neutrons in a nuclear reactor and is often considered a by-product of plutonium production.  For use as a radioactive source, the americium must be chemically separated from the nuclear reactor fuel.  
3. Radioactive properties

· Hazardous radiation type – Most prominently alpha radiation, but also low energy gamma and beta radiation.
· Half-life – 430 years for americium decay
· Specific activity – 3.5 curies per gram (or 130 billion disintegrations per second per gram of americium-241); activity level of americium-beryllium sources depends on amounts for americium and beryllium used.  
· RDD Threat Assessment – Americium-241 poses a significant threat for RDD use, even though its availability is limited, because very small amounts can cause death or other health impacts if inhaled.  
· Accident History – No significant accidents, but americium-241 sources have been accidentally melted at scrap metal facilities, and unshielded americium-241 sources have been found on at least two occasions at U.S. scrap yards.  
4. Health effects or risks from exposure:

· Dose – The radiation from americium-241 can be easily shielded. The dose rate at one meter from an unshielded americium-241 sources of different sizes and the time that could be spent at one meter from such sources before receiving either an injurious dose or a potentially fatal dose are listed in Table 1.  The safe distances for these sources—the distance at which the dose rate would be 0.2 rem per hour—is also listed.
Table 1.  Dose rates and Time at One Meter for Americium-241 Sources 
of Various Sizes, and Safe Distances for These Sources (http://www.radprocalculator.com/Index.aspx)
	Source size

(Curies)
	Dose rate at 1 meter from unshielded source (mRem/hr)
	Time at 1 meter from unshielded source to receive: *
	Safe Distance (meters)

	
	
	An injurious dose
	A potentially fatal dose
	

	20
	295
	57 days
	168 days
	1.2

	1
	14.6
	285 days
	2.3 years
	0.27

	0.01
	0.146
	80 years
	234 years
	0.027


* These are the approximate times only; individual responses will vary.  

· Distance and shielding – Dose rate for a source of a given size depends on distance and shielding.  Doubling the distance to the source will decrease the dose rate by a factor or four; shielding the source with a metal like steel, lead or uranium, will also decrease the dose rate.  Shielding by 0.35 mm of lead or 2.0 mm of steel will decrease the dose rate by a factor of ten.
· Uptake and decorporation agents – Americium-241 poses a significant risk if ingested (swallowed) or inhaled. When inhaled, some Am-241 remains in the lungs, depending upon the particle size and the chemical form of the americium compound, and some will pass to the bloodstream  Americium that is ingested may dissolve in the stomach and pass into the bloodstream; undissolved material passes from the body through the feces. It can stay in the body for decades and continue to expose the surrounding tissues to both alpha and gamma radiation, increasing the risk of developing cancer. There are tests that reliably measure the amount of americium in a urine sample, even at very low levels. Other tests can measure Am-241 in soft tissues (such as body organs) and in feces, bone, and milk. None of these tests are routinely available in a doctor's office because they require special laboratory equipment.
5. Common Commercial Uses and Identified Hazard Level Information
Table 2.  Hazard Level and Common Commercial Uses for Americium-241 Sources

	Source Size
	Application
	Considerations

	Small Sources

IAEA Category 3: 3–300 Ci

(0.85g - 85g of Am-241)

10 - 50 kg of shielding
	- Well logging instruments (Am-Be)
- Calibration facilities 
	The maximum source size for americium-241 sources used in commercial applications is about 20 – 25 curies 

	Very Small Sources

< 3 Ci (< 0.85g of Am-241)


	- Smoke detectors 
- Common calibration and check sources
- Moisture/density gauges and detectors (Am-Be)
- Level, thickness, and conveyor gauges
- Aircraft fuel gauges

- Bone densitometry

- Static eliminators

- Research reactor startup sources (Am-Be)
	Level gauges are commonly used in industry and have been accidentally thrown away as scrap metal.

Very small sources are used widely in industry and most of these are so small that they pose no hazard unless the source material is unsealed and ingested or inhaled.  


6. Response Considerations

· Accidents:

· Transportation: Life endangering amounts of radioactive material are shipped in extremely robust containers, see NAERG for appropriate actions.
· Facilities: Follow licensee emergency response plans.
· Industrial Accidents: Occasionally industrial sources may be involved in an accidental exposure; this most often occurs at scrap metal recyclers but can also happen during building demolition or other events.

· Malicious or Illegal:
Note: Radioactive sources are occasionally stolen from industrial facilities by thieves who do not know what they are stealing; the sources are often discarded and recovered later.  The intentional theft of radioactive material should be rigorously investigated (contact DNDO for more information).  Although several significant technical and operational challenges have to overcome to employ radioactive material for terrorism, it can be misused in the following fashion.

· Radiation Exposure Device (RED) is the placing of an encapsulated or sealed source so as to expose a person or persons to harmful radiation.  This type of event does not spread contamination, but may cause injury to individuals that have prolonged, close exposure to the sore (size dependant).  If a source is discovered in a public area:
· Safely evacuate the area, 
· Isolate and control the area around the source (safe distances vary; see Table 1 above), and
· Notify proper authorities
· Radiological Dispersal Device (RDD) intentionally spreads radioactive material over an area.  This can be overtly, such as with explosives (also called a “dirty bomb”), or covertly.  Once discovered, the contaminated area should be evacuated and controlled; potentially exposed/contaminated individuals should be monitored and decontaminated (as appropriate).

Because dispersion effectively dilutes that contamination (and therefore the radiation hazard), response to an RDD is rarely life threatening to the responder. Precautions should be taken to avoid the spread or inhalation of radioactive material, but medical emergencies take precedent over radiological concerns.  For more information see the DHS fact sheet on RDDs.
7. Links to other fact sheets

· Environmental Protection Agency Radiation Information: http://www.epa.gov/radiation/radionuclides/americium.htm

· Canadian Radioactive Material Data Sheet: http://www.stuarthunt.com/Downloads/RMSDS/Am241.pdf

· Center for Disease Control and Prevention: 

http://www.bt.cdc.gov/radiation/isotopes/americium/index.asp

· Human Health Fact Sheets

http://www.ead.anl.gov/pub/doc/rdd.pdf
· The Radiation Field Guide, U.S. Department of Homeland Security, Domestic Nuclear Detection Office, Nuclear Assessment Program / Secondary Reachback, V1-GR135-0905, September 2005
· National Academy of Engineering Fact Sheet on RDDs: 


http://www.nae.edu/NAE/pubundcom.nsf/weblinks/CGOZ-646NVG/
8. Images

[image: image1.png]



Sealed Americium source

[image: image2.jpg]



Sealed Americium-Beryllium source
[image: image3.jpg]Stainless Steel ——
or Tantalum
Inner Linar

2pugoor
241am 8o
Source Material





An AmBe neutron source
June 2006


[image: image4.png]